| UČNI NAČRT PREDMETA / COURSE SYLLABUS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Predmet: |  |  | Elektroenergetska omrežja in naprave |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Course title: |  |  | Electrical Power Networks and Devices |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Študijski program in stopnja Study programme and level |  |  |  |  | Študijska smer Study field |  |  |  |  |  |  | Letnik Academic year |  | Semester Semester |  |  |
| Univerzitetni dodiplomski študijski program 1. stopnje Elektrotehnika |  |  |  |  | Energetika in mehatronika |  |  |  |  |  |  | 3. |  | zimski |  |  |
| 1st cycle academic study programme Electrical Engineering |  |  |  |  | Power Engineering and Mechatronics |  |  |  |  |  |  | 3. |  | winter |  |  |
| Vrsta predmeta / Course type |  |  |  |  |  |  |  |  |  |  | Obvezni strokovni / Compulsory professional |  |  |  |  |  |
| Univerzitetna koda predmeta / University course code: |  |  |  |  |  |  |  |  |  |  | 64155 |  |  |  |  |  |
| Predavanja Lectures | Seminar Seminar |  |  | Vaje Tutorial |  |  | Klinične vaje work |  |  | Druge oblike študija |  |  | Samost. delo Individ. work |  |  | ECTS |
| 45 |  |  |  | 45 |  |  |  |  |  |  |  |  | 85 |  |  | 7 |
| Nosilec predmeta / Lecturer: |  |  |  |  | Boštjan Blažič |  |  |  |  |  |  |  |  |  |  |  |
| Jeziki / Languages: |  | Predavanja / Lectures: |  |  |  | slovenski / Slovenian |  |  |  |  |  |  |  |  |  |  |
|  |  | Vaje / Tutorial: |  |  |  | slovenski / Slovenian |  |  |  |  |  |  |  |  |  |  |
| Pogoji za vključitev v delo oz. za opravljanje študijskih obveznosti: |  |  |  |  |  |  |  |  | Prerequisits: |  |  |  |  |  |  |  |
| Vpis v letnik. |  |  |  |  |  |  |  |  | Enrolment in the year of the course. |  |  |  |  |  |  |  |

| Vsebina: |  | Content (Syllabus outline): |
| --- | --- | --- |
| Razvoj elektroenergetskega omrežja in splošna delitev električnih omrežij. Kompleksne veličine in sistemi komponent. Mehanski parametri nadzemnih vodnikov, oblikovanje vodov in električni parametri vodov. Sestava energetskih visokonapetostnih kablov, izvedbe kablov, imitance enožilnih in trožilnih kablov. Kriteriji za dopustno obremenljivost električnih omrežij. Električni parametri dvonavitnih in tronavitnih transformatorjev, sinhronskih generatorjev in asinhronskih strojev. Vrste stikalnih postaj z različnimi izvedbami stikališč. Visokonapetostna stikalna tehnika - odklopniki in drugi stikalni aparati. Klasični kompenzatorji jalove moči, pasivni filtri in dušilke. Sodobne kompenzacijske naprave z modulih močnostne elektronike. Razpršeni viri energije in aktivna distribucijska omrežja. |  | Development of electric power networks and general division of power networks. Complex quantities and systems of components. Mechanical parameters of overhead power lines, construction of lines, and electrical parameters of power lines. Composition of high voltage power cables, construction of power cables, impedances of single-core and three-core cables. Loading criteria of power networks. Electrical parameters of two winding and three winding transformers, synchronous generators and asynchronous machines. Types of power substations with different implementations of switchyards. High voltage switching technology – circuit breakers and other switching devices. Classical power factor correction devices, passive filters and reactors. Modern compensation devices with power electronics modules. Distributed power sources and active distribution networks. |

| Temeljni literatura in viri / Readings: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| - Papič I., Žunko P., Elektroenergetska tehnika I (Electric Power Engineering I), Založba FE in FRI, 2009. - Kiessling, F., Nefzger P., Nolasco J.F., Kaintzyk U., Overhead Power Lines: Planning, Design, Construction, Springer Verlag, 2003. - William H. Kersting, Distribution System Modeling and Analysis, CRC Press, 2002. - Ramasamy Natarajan, Power system capacitors, Taylor & Francis, 2005. |  |  |  |  |  |
| Cilji in kompetence: |  |  |  | Objectives and competences: |  |
| Študent bo poznal glavne elemente in naprave elektroenergetskega omrežja. Pridobil bo osnovno znanje o modeliranju in parametrih elektroenergetskih elementov pri matematični analizi elektroenergetskih sistemov. |  |  |  | The student will acquire the knowledge of main elements and devices of electrical power networks and the basic knowledge of mathematical modelling and parameters of electrical power elements used in power systems analysis. |  |
| Predvideni študijski rezultati: |  |  |  | Intended learning outcomes: |  |
| Znanje in razumevanje: Študent bo poznal funkcije glavnih elementov elektroenergetskega omrežja. Sposoben bo samostojnega modeliranja in določanja parametrov elementov in naprav elektroenergetskega omrežja. Uporaba: Pridobljeno znanje je osnova za modeliranje elektroenergetskih elementov pri matematični analizi sistemov. Refleksija: Študent bo razumel povezavo med strukturo elementov in naprav ter električnimi parametri, razumel bo pomen uporabe simetričnih komponent. Prenosljive spretnosti: Matematični opisi elementov sistema so prenosljivi v simulacijsko okolje. |  |  |  | Knowledge and understanding: The student will become familiar with the functions of main power network elements and will be able to independently model and determine the parameters of the power system elements and devices. Application: Gathered knowledge forms the basis for mathematical modeling of power system elements used in the system analysis. Reflection: The student will understand the relationship between the structure of elements and devices and their electrical parameters and will also understand the use of symmetrical components. Transferable skills: Mathematical descriptions of power network elements are transferable in simulation programs. |  |
| Metode poučevanja in učenja: |  |  |  | Learning and teaching methods: |  |
| Predavanja, avditorne vaje, laboratorijske vaje. |  |  |  | Lectures, tutorials (auditory practice and laboratory work). |  |
| Načini ocenjevanja: | Delež (v %) / Weight (in %) |  |  |  | Assessment: |
| Pogoj za opravljanje ustnega izpita je pozitivna ocena poročila o opravljenih vajah. Pisni izpit Ustni izpit Ocena poročila laboratorijskih vaj Pisni in ustni izpit. Kandidat, ki na pisnem izpitu zbere vsaj 50 % možnih točk, lahko pristopi k ustnemu izpitu. Skupna končna ocena se oblikuje na podlagi rezultata pisnega izpita in ustnega zagovora, pri čemer se upošteva tudi poročilo z laboratorijskih vaj. Kandidat lahko opravi pisni izpit tudi z dvema kolokvijema, pri čemer mora na vsakem kolokviju doseči vsaj 50 % možnih točk. Laboratorijske vaje so obvezne. Ocenjevalna lestvica: nezadostno (od 1 do 5), zadostno (6), dobro (7), prav dobro (8), prav dobro (9), odlično (10). | 40 % 30 % 30 % |  |  |  | The prerequisite for the oral exam is a positive assessment of tutorials report. Written examination Oral examination Grade of tutorials report Written and oral exam. The candidate should score a minimum of 50 % of the written exam points to take the oral exam. The final grade is given on the basis of the result of the written and oral examination, taking into account the grade of tutorials report. Instead of the written exam, the candidate can take two partial written exams, and should score a minimum of 50 % of the points at each one of them. Laboratory work is mandatory. Grading: unsatisfactory (1 to 5), sufficient (6), good (7), very good (8), very good (9), excellent (10). |
| Reference nosilca / Lecturer's references: |  |  |  |  |  |
| - HERMAN, Leopold, BLAŽIČ, Boštjan, PAPIČ, Igor. Pregled in primerjava sodobnih kompenzacijskih naprav za kompenzacijo jalove moči in filtriranje harmonikov. V: Enajsta konferenca slovenskih elektroenergetikov, Laško, 27.-29. maj 2013. - KOLENC, Marko, PAPIČ, Igor, BLAŽIČ, Boštjan. Minimization of losses in smart grids using coordinated voltage control. Energies (Basel), Oct. 2012, vol. 5, no. 10, str. 3768-3787, ilustr. - BOBNAR, Matjaž, PAPIČ, Igor, BIZJAK, Jurij, BLAŽIČ, Boštjan. Development planning of the electric power network at the Ravne steelworks. Elektrotehniški vestnik. [English print ed.], 2012, vol. 79, no. 5, str. 242-247. - BLETTERIE, Benoit, GORŠEK, Aljaž, FAWZY, Yehia Tarek, PREMM, Daniel, DEPREZ, Wim, TRUYENS, Filip, WOYTE, Achim, BLAŽIČ, Boštjan, ULJANIĆ, Blaž. Development of innovative voltage control for distribution networks with high photovoltaic penetration. Progress photovoltaics, 2011, str. 747-759. - BLAŽIČ, Boštjan, PAPIČ, Igor. Large-scale integration of distributed energy resources in power networks. Elektrotehniški vestnik. [Slovenska tiskana izd.], 2008, letn. 75, št. 3, str. 117-122. |  |  |  |  |  |